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	Work Process Schedule
	
	OJT HRS

	PROJECT LAYOUT AND PLANNING
Prepare sketches or follow blueprints to determine the location of wiring or equipment and to ensure conformance to building and safety codes. Provide preliminary sketches or cost estimates for materials or services.

	
	150

	UNDERGROUND INSTALLATIONS
Trenching and ditch digging, Direct Burial, Installing PVC/Rigid Conduit, Installing grounding electrode systems.

	
	200

	THIN WALL CONDUIT RACEWAY SYSTEMS
Fastening and supporting devices, Conduit fabrication.

	
	200

	RIGID CONDUIT RACEWAY SYSTEMS
Fastening and supporting devices, Conduit fabrication, Installation of conduit, fittings and boxes.

	
	200

	INSTALLING SERVICES, AND PANELS
Mounting devices, Breaker installation, Fuse installation, Terminations and Bonding.

	
	350

	INSTALLING, SPLICING & TERMINATING WIRES AND CABLES
Installing Non-metallic Sheath cable, Establishing temporary power, Feeders and branch circuits, Control wiring.

	
	1K

	LIGHTING SYSTEM INSTALLATION
Installing outlet boxes and conductors, Installing fixtures, Control devices.

	
	400

	TESTING AND TROUBLESHOOTING SERVICES, MOTORS AND BRANCH CIRCUITS
Checking circuit continuity, Identifying fault current to ground, Certifying system operation, Repair and maintenance, Ground Verification.

	
	100

	FIRE ALARM INSTALLATION
Blueprint and specification interpretation, Layout and circuit installation, Control panel and device installation, Programming and testing.

	
	100

	CONTROL SYSTEM INSTALLATION
Blueprint and specification interpretation, Layout and circuit installation, Distributed control.

	
	150

	SECURITY SYSTEM INSTALLATION
Blueprint and specification interpretation Layout, Box and circuit installation Terminations, Testing.

	
	100

	INSTALLING COMMUNICATION AND SOUND SYSTEMS
Blueprint and specification interpretation Layout, Conduit and box installation, Installing panels and network devices, Circuit installation, Terminations and testing.

	
	150

	INSTALLING AND TERMINATING TRANSFORMERS
Mounting and Installation.

	
	100

	SERVICE AND TROUBLESHOOTING
Testing, analysis and repair of: motors, transformers, electrical devices, electronic devices, magnetic devices, lighting and power circuits, control circuits and devices.

	
	100

	MATERIAL HANDLING AND PRE-FABRICATION
Material/equipment awareness, Fabricating for field installation.

	
	100

	OTHER SPECIALIZED AREAS
Other specialized areas as deemed necessary.

	
	200

	Totals
	
	OJT HRS
3.6K
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	Related Instruction Online
	RSI HRS

	Totals
	RSI HRS
0




