Central Sterile Supply Technician

APPRENTICESHIP APPROACH

Competency

O*NET-SOC CODE

31-9093.00

RAPIDS CODE

1133CB

| Work Process Schedule | SKILLS |  |
| --- | --- | --- |
| Procedures, Policies, and Practices in the Sterile Processing Department Recognize the specific roles, basic knowledge skills, and functions of the sterile processing technician. Demonstrate knowledge of the standards, ethics, guidelines, professional standards, and safety regulations that guide the sterile processing profession. Demonstrate knowledge of the various federal and state regulatory agencies and how they’re pertinent to sterile processing. Identify the various inventory replenishment systems and how they’re utilized in central service. Attend hospital in-service programs related to areas of work specialization. Maintain personal health and safety as well as team/environment health and safety. | 6 |  |
| Cleaning, Decontaminating and Disinfecting Medical Equipment and Instruments Demonstrate knowledge of the principles, procedures, and guidelines of aseptic technique. Demonstrate knowledge of the principles, procedures, and guidelines for the prevention of disease transmission and the roles of personal protective equipment. Properly use cleaning and disinfecting agents according to the manufacturer’s instructions. Properly clean general, powered, and delicate instruments in preparation for sterilization. Purge waste from equipment by connecting equipment to water sources and flushing water through systems. Disinfect and sterilize equipment, such as respirators, hospital beds, or oxygen or dialysis equipment, using sterilizers, aerators, or washers. | 6 |  |
| Inspecting and Preparing Medical Equipment and Instrumentation for Use Examine equipment to detect leaks, worn or loose parts, or other indications of disrepair. Report defective equipment and instrumentation to appropriate supervisors or staff. Organize and assemble routine or specialty surgical instrument trays or other sterilized supplies. Properly pack and wrap medical devices in preparation for appropriate sterilization process and/or distribution. Use proper sterilization indicators and techniques during packaging. Properly loading and unloading of packaged medical devices and/or instrumentation into sterilizers. Follow guidelines and procedures for properly storing sterilized items. Knowledge of tracking systems for medical devices and instrumentation (including loaners). | 8 |  |
| Using, Monitoring and Maintaining Sterilization Equipment to Ensure Proper Functioning Knowledge of the various components of the steam sterilizer, their functions, and sterilizer cycle phases. Operate and maintain steam autoclaves, keeping records of loads completed, items in loads, and maintenance procedures performed. Observe gauges and equipment operation to detect malfunctions and to ensure equipment is operating to prescribed standards. Demonstrate knowledge of physical, mechanical, chemical, and biological monitoring procedures. Apply quality assurance principles as they relate to sterilization monitoring and other processes in sterile processing. Record sterilizer test results. | 6 |  |
| Manage Inventory and Restocking According to Established Protocols Maintain safe, clean, and orderly storage environment. Stock, rotate, inspect, confirm, distribute and monitor usage of items. | 2 |  |
| Totals | SKILLS 28 | OJT HRS 0 |