Pipe Fitter

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.00

RAPIDS CODE

0414

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Install plumbing or piping. Install underground storm, sanitary, or water piping systems, extending piping as needed to connect fixtures and plumbing. |  | 400 |
| Install plumbing or piping. Assemble pipe sections, tubing, or fittings, using couplings, clamps, screws, bolts, cement, plastic solvent, caulking, or soldering, brazing, or welding equipment. |  | 400 |
| Install plumbing or piping. Install pipe assemblies, fittings, valves, appliances such as dishwashers or water heaters, or fixtures such as sinks or toilets, using hand or power tools. |  | 300 |
| Install plumbing or piping. Anchor steel supports from ceiling joists to hold pipes in place. |  | 300 |
| Install plumbing or piping. Attach pipes to walls, structures, or fixtures, such as radiators or tanks, using brackets, clamps, tools, or welding equipment. |  | 300 |
| Install plumbing or piping. Install pipe systems to support alternative energy-fueled systems, such as geothermal heating or cooling systems. |  | 300 |
| Maintain plumbing structures or fixtures. Shut off steam, water, or other gases or liquids from pipe sections, using valve keys or wrenches. |  | 200 |
| Maintain plumbing structures or fixtures. Modify, clean, or maintain pipe systems, units, fittings, or related machines or equipment, using hand or power tools. |  | 300 |
| Maintain plumbing structures or fixtures. Maintain or repair plumbing by replacing defective washers, replacing or mending broken pipes, or opening clogged drains. |  | 300 |
| Weld metal components. Assemble pipe sections, tubing, or fittings, using couplings, clamps, screws, bolts, cement, plastic solvent, caulking, or soldering, brazing, or welding equipment. |  | 200 |
| Weld metal components. Attach pipes to walls, structures, or fixtures, such as radiators or tanks, using brackets, clamps, tools, or welding equipment. |  | 200 |
| Weld metal components. Weld small pipes or special piping, using specialized techniques, equipment, or materials, such as computer-assisted welding or microchip fabrication. |  | 200 |
| Mark reference points on construction materials. Locate and mark the position of pipe installations, connections, passage holes, or fixtures in structures, using measuring instruments such as rulers or levels. |  | 200 |
| Measure materials or objects for installation or assembly. Locate and mark the position of pipe installations, connections, passage holes, or fixtures in structures, using measuring instruments such as rulers or levels. |  | 200 |
| Create construction or installation diagrams. Lay out full scale drawings of pipe systems, supports, or related equipment, according to blueprints. |  | 200 |
| Cut metal components for installation. Cut, thread, or hammer pipes to specifications, using tools such as saws, cutting torches, pipe threaders, or pipe benders. |  | 200 |
| Fabricate parts or components. Cut, thread, or hammer pipes to specifications, using tools such as saws, cutting torches, pipe threaders, or pipe benders. |  | 200 |
| Plan layout of construction, installation, or repairs. Plan pipe system layout, installation, or repair, according to specifications. |  | 300 |
| Inspect plumbing systems or fixtures. Fill pipes or plumbing fixtures with water or air and observe pressure gauges to detect and locate leaks. |  | 250 |
| Inspect plumbing systems or fixtures. Inspect, examine, or test installed systems or pipe lines, using pressure gauge, hydrostatic testing, observation, or other methods. |  | 250 |
| Review blueprints or specifications to determine work requirements. Review blueprints, building codes, or specifications to determine work details or procedures. |  | 200 |
| Select construction materials. Select pipe sizes, types, or related materials, such as supports, hangers, or hydraulic cylinders, according to specifications. |  | 200 |
| Direct construction or extraction personnel. Direct helpers engaged in pipe cutting, preassembly, or installation of plumbing systems or components. |  | 200 |
| Clean equipment or facilities. Modify, clean, or maintain pipe systems, units, fittings, or related machines or equipment, using hand or power tools. |  | 200 |
| Estimate construction project costs. Estimate time, material, or labor costs for use in project plans. |  | 200 |
| Estimate construction project labor requirements. Estimate time, material, or labor costs for use in project plans. |  | 200 |
| Install gauges or controls. Install automatic controls to regulate pipe systems. |  | 200 |
| Record operational or environmental data. Keep records of work assignments. |  | 100 |
| Inspect work sites to determine condition or necessary repairs. Inspect structures to assess material or equipment needs, to establish the sequence of pipe installations, or to plan installation around obstructions, such as electrical wiring. |  | 200 |
| Repair worn, damaged, or defective mechanical parts. Repair or remove and replace system components. |  | 300 |
| Repair worn, damaged, or defective mechanical parts. Repair hydraulic or air pumps. |  | 300 |
| Remove parts or components from equipment. Repair or remove and replace system components. |  | 100 |
| Replace worn, damaged, or defective mechanical parts. Repair or remove and replace system components. |  | 100 |
| Cut openings in existing structures. Cut openings in structures to accommodate pipes or pipe fittings, using hand or power tools. |  | 200 |
| Inspect work sites to identify potential environmental or safety hazards. Inspect work sites for obstructions or holes that could cause structural weakness. |  | 100 |
| Install green plumbing or water handling systems. Install green plumbing equipment, such as faucet flow restrictors, dual-flush or pressure-assisted flush toilets, or tankless hot water heaters. |  | 200 |
| Install green plumbing or water handling systems. Install fixtures, appliances, or equipment designed to reduce water or energy consumption. |  | 200 |
| Operate pumps or compressors. Operate motorized pumps to remove water from flooded manholes, basements, or facility floors. |  | 100 |
| Totals |  | OJT HRS 5.2K |

Pipe Fitter

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.00

RAPIDS CODE

0414

| Related Instruction Online | RSI HRS |
| --- | --- |
| Orientation to the Pipefitting Craft | 5 |
| Pipefitting Hand Tools | 20 |
| Pipefitting Power Tools | 15 |
| Oxyfuel Cutting | 17 |
| Ladders and Scaffolds | 12 |
| Motorized Equipment One | 10 |
| Piping Systems | 5 |
| Drawings and Detail Sheets | 15 |
| Identifying and Installing Valves | 20 |
| Pipefitting Trade Math | 15 |
| Threaded Pipe Fabrication | 15 |
| Socket-Weld Pipe Fabrication | 25 |
| Butt-Weld Pipe Fabrication | 37 |
| Excavations | 10 |
| Underground Pipe Installation | 20 |
| Introduction to Basic Rigging | 7 |
| Rigging Practices | 15 |
| Standards and Specifications | 10 |
| Advanced Trade Math | 25 |
| Motorized Equipment Two | 10 |
| Introduction to Aboveground Pipe Installation | 25 |
| Field Routing and Vessel Trim | 15 |
| Pipe Hangers and Supports | 25 |
| Testing Piping Systems and Equipment | 20 |
| Advanced Blueprint Reading | 50 |
| Advanced Pipe Fabrication | 50 |
| Stress Relieving and Aligning | 10 |
| In-Line Specialties | 20 |
| Special Piping | 25 |
| Hot Taps | 10 |
| Maintaining Valves | 10 |
| Fundamentals of Crew Leadership | 22 |
| Totals | RSI HRS 590 |