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	Work Process Schedule
	
	OJT HRS

	CARE AND USE OF TOOLS, EQUIPMENT, AND MATERIAL FOR PLUMBING AND HEATING

Identify materials, fittings, grades and types of pipe

Learn to use and maintain trade tools and equipment

Learn to cut, thread, ream and flange pipe

Learn welding and soldering

	
	500

	PREPARATION OF TOOLS, EQUIPMENT, AND MATERIAL FOR PLUMBING AND HEATING

Select piping materials, as required

Load and unload required material and equipment safely, without damaging them

	
	500

	DRAINAGE PIPING AND FITTINGS

Understand the types of pipes used underground, within a building, above grade, and in agreement with code

Install cast iron, steel, plastic or other approved drainage piping

Pitch pipes for proper drainage Use recessed drainage fittings and determine number of hangers required by certain size waste lines

Know the types of pipe and fittings and proper use for DWV

Know the workings of septic tanks and systems

Know the methods for testing pipes for leaks

	
	1K

	VENTING

Demonstrate the application and importance of venting

Install main and branch venting, and all aspects of venting, according to code

	
	750

	SINGLE FIXTURE INSTALLATIONS, SETTING FIXTURES

Know how to install, test, and maintain fixtures

Know how to prepare blocking and supports

Cut and patch walls

	
	1K

	PIPECUTTING, REAMING, THREADING, AND FLANGING

Setting up and using a threading machine

Using hand cutters, taps, reamers and related Power equipment

Install, repair and replace main components

Fabricate pipes Operate and test for leaks

Fabricate and install high pressure and special alloy systems

	
	800

	INSTALL & MAINTAIN STEAM AND HOT WATER HEATING SYSTEMS

Know the various types of steam and hot water heating systems

Know how to safely install, maintain and repair them

	
	1K

	HOT AND COLD WATER DISTRIBUTION SYSTEMS

Measure and cut pipes to specifications

Install various piping methods and materials

Select, fir and install valves

Install, in accordance with accepted code and safety procedures

	
	750

	HIGH & LOW PRESSURE BOILERS

Install boilers

Fabricate and install piping

Test, and place in operation

Instruct operating personnel

	
	700

	WATER HEATER INSTALLATION

Properly size water heaters

Learn difference between heat sources

Install and connect water heater

Venting of appropriate units

Maintain, troubleshoot and repair as required according to code

	
	500

	WATER PUMPS

Know lift principles

Know pressure calculations

Know types and use of pistons, rotaries, vanes and submersibles

Demonstrate installation, maintenance, troubleshooting and repair

	
	500

	Totals
	
	OJT HRS
8K
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	Related Instruction Online
	RSI HRS

	YEAR I
	140

	YEAR II
	140

	YEAR III
	140

	YEAR IV
	140

	Totals
	RSI HRS
580




