HEATING & AIR-CONDITIONER INSTALL/SER (0637 V3) Time-Based

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-9021.00

RAPIDS CODE

0637

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Safety a. Job Site Safety b. Electrical Safety c. Working at Heights d. Know Proper PPE Requirements e. All Industrial Safety Class Needed within the Company f. Equipment Safety and Certification Needed within the Company |  | 200 |
| Adjust equipment to ensure optimal performance. Install, connect, or adjust thermostats, humidistats, or timers.; Adjust system controls to settings recommended by manufacturer to balance system. |  | 500 |
| Repair worn, damaged, or defective mechanical parts. Repair or replace defective equipment, components, or wiring.; Perform mechanical overhauls and refrigerant reclaiming.; Repair or service heating, ventilating, and air conditioning (HVAC) systems to improve efficiency, such as by changing filters, cleaning ducts, and refilling non-toxic refrigerants. |  | 1K |
| Inspect systems to determine if they are operating properly. Inspect and test systems to verify system compliance with plans and specifications or to detect and locate malfunctions. |  | 500 |
| Replace worn, damaged, or defective mechanical parts. Repair or replace defective equipment, components, or wiring. |  | 1K |
| Install energy-efficient heating, ventilation, or air conditioning (HVAC) equipment. Install dehumidifiers or related equipment for spaces that require cool, dry air to operate efficiently, such as computer rooms.; Install or repair air purification systems, such as specialized filters or ultraviolet (UV) light purification systems.; Install or repair self-contained ground source heat pumps or hybrid ground or air source heat pumps to minimize carbon-based energy consumption and reduce carbon emissions. |  |  |
| Braze metal parts or components. Braze or solder parts to repair defective joints and leaks. |  | 100 |
| Connect electrical components or equipment. Lay out and connect electrical wiring between controls and equipment, according to wiring diagrams, using electrician's hand tools. |  | 1K |
| Install machine or equipment replacement parts. Install expansion and control valves, using acetylene torches and wrenches. |  |  |
| Cut materials according to specifications or needs. Measure, cut, thread, or bend pipe or tubing, using pipe fitter's tools. |  | 80 |
| Measure distances or dimensions. Measure, cut, thread, or bend pipe or tubing, using pipe fitter's tools. |  |  |
| Drill holes in parts, equipment, or materials. Cut or drill holes in floors, walls, or roof to install equipment, using power saws or drills. |  | 80 |
| Order materials, supplies, or equipment. Estimate, order, pick up, deliver, and install materials and supplies needed to maintain equipment in good working condition. |  | 300 |
| Supervise employees. Supervise and instruct assistants. |  | 500 |
| Train others in operational procedures. Supervise and instruct assistants. |  | 500 |
| Lay out work according to specifications. Lay out reference points for installation of structural and functional components, using measuring instruments. |  |  |
| Operate cranes, hoists, or other moving or lifting equipment. Lift and align components into position, using hoist or block and tackle. |  |  |
| Test mechanical systems to ensure proper functioning. Test pipes, lines, components, and connections for leaks. |  |  |
| Totals |  | OJT HRS 5.8K |

HEATING & AIR-CONDITIONER INSTALL/SER (0637 V3) Time-Based

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-9021.00

RAPIDS CODE

0637

| Related Instruction Online | RSI HRS |
| --- | --- |
| Totals | RSI HRS 0 |