SPRINKLER FITTER

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.00

RAPIDS CODE

WSATC-2232

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Overhead piping installations Wet pipe system (light, ordinary and extra hazard) Exposed piping Concealed piping Hydrostatic test Dry pipe system (light, ordinary and extra hazard) Exposed piping Concealed piping Air or Hydrostatic test Special piping installations Anti-freeze systems Standpipe and hose equipment |  | 4K |
| Control devices, training alarm installations and drains Alarm valves or water flow devices Water meter alarm gongs Electric alarms, circuit openers or closer Dry pipe valves or accelerators Air supplies (manual or automatic) Supervisory equipment Water motor alarm – gongs Electric alarm circuit openers or closer Pre-action and deluge valves Heat responsive devices, tubing, and conduit |  | 3K |
| Underground piping Cast iron bell and spigot pipe and fitting installations Post indicator valves Hydrants Valve pit connections, hydrant houses and equipment Hydrostatic test and flushing Special types of underground piping Universal or mechanical joint pipe |  | 1.5K |
| Water supplies City connections Wet connections under pressure Dry cut-ins Tank connections Gravity tanks (discharge, fill, heating, and overflowing) Pressure tanks (discharge, fill and air) Fire pumps-manual or automatic Suction and discharge By-pass Hose connections and relief Fire department Siamese connections |  | 800 |
| Care and maintenance of sprinkler system Repair work on overhead and underground piping Piping and valves Devices and alarms Flushing Insurance inspection and reports Owner’s instruction on care and maintenance |  | 500 |
| Miscellaneous Scaffolds and ladders – (Knowledge Only) Construction and use Safe operating practices Care and use of tools Receiving, distributing, and shipping of materials |  | 200 |
| Totals |  | OJT HRS 10K |

SPRINKLER FITTER

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.00

RAPIDS CODE

WSATC-2232

| Related Instruction Online | RSI HRS |
| --- | --- |
| Totals | RSI HRS 0 |