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	Work Process Schedule
	
	OJT HRS

	Project Layout & Planning
Reading and Interpreting blueprints and specifications; Coordination between crafts, general contractor, and homeowner; Layout services and branch circuits.

	
	200

	Underground Installations
Trenching and ditch digging; Direct burial; Installing PVC/Rigid conduit; Installing grounding electrode systems.

	
	200

	Thinwall Conduit Raceway Systems
Fastening and supporting devices; Conduit fabrication; Installation of conduit, fittings, and boxes.

	
	200

	Rigid Conduit Raceway Systems
Fastening and supporting devices; Conduit fabrication; Installation of conduit, fittings, and boxes.

	
	200

	Installing Services and Panels
Mounting devices; Breaker installation; Fuse installation; Terminations and bonding.

	
	500

	Installing, Splicing, & Terminating Wires and Cables
Installing non-metallic sheath cable; Establishing temporary power; Feeders and branch circuits; Control wiring; Splices, taps, and terminations.

	
	1.2K

	Lighting System Installation
Installing outlet boxes and conductors; Installing fixtures; Control devices.

	
	400

	Testing and Troubleshooting Feeders, Motors, and Branch Circuits
Checking circuit continuity; Identifying fault current to ground; Certifying system operations; Repair and maintenance; Ground verification.

	
	100

	Fire Alarm Installation
Blueprint and specification interpretation; Layout and circuit installation; Control panel and device installation; Programming and testing.

	
	100

	Control System Installation
Blueprint and specification interpretation; Layout and circuit installation; Distributed control.

	
	150

	Security System Installation
Blueprint and specification interpretation; Layout; Box and circuit installation; Terminations; Testing.

	
	100

	Installing Communication and Sound Systems
Blueprint and specification interpretation; Layout; Conduit and box installation; Installing panels and network; Circuit installation; Terminations and testing.

	
	150

	Installing and Terminating Transformers
Mounting and installation; Primary and secondary terminations; Testing and troubleshooting.

	
	100

	Installing Specialized Systems
Basic life safety; Custom and low-voltage control; Entertainment and Environmental.

	
	800

	Service and Troubleshooting
Testing, analysis, and repair of motors, transformers, electrical devices, electronic devices, magnetic devices, lighting and power circuits, control circuits and devices.

	
	100

	Material Handling and Pre-Fabrication
Material/equipment awareness; Fabrication for field installation.

	
	100

	Safety Awareness and Other Specialized Areas
TBD

	
	200

	Totals
	
	OJT HRS
4.8K
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	Related Instruction Online
	RSI HRS

	Blueprint Reading
	160

	Circuit Diagram Interpretation
	160

	Communication Skills
	160

	Conduit Fabrication
	160

	Electrical Theory
	160

	Industry Orientation
	160

	Job Information
	160

	Material Identification
	160

	Mathematics
	160

	National Electrical Code
	160

	OSHA/Safety Awareness
	160

	Tool Identification
	160

	Basic Control Systems
	160

	Basic Refrigeration and HVAC
	160

	Basic Security Alarm Systems
	160

	Circuit Planning
	160

	Distribution Systems
	160

	Grounding
	160

	Residential Control Systems
	160

	Solar Power Generation
	160

	Sound Systems
	160

	Totals
	RSI HRS
3.4K




