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	Work Process Schedule
	
	OJT HRS

	Interior and exterior underground sanitary and storm sewer or private sewage system work

	
	1.2K

	Vertical stacks, horizontal lines, and branch lines for soil, waste, and venting piping

	
	2.1K

	Water supply system – Sizing of lines, selecting of material to use, and job, cross-laying out connection control and water treatment equipment

	
	1.7K

	Setting and connecting of all types of plumbing fixtures and appliances and water treatment equipment

	
	1.5K

	Care and safe use of tools, materials and equipment used on the job. Job lay out and site safety requirements. Driving and operating of equipment used in the job

	
	500

	Industrial, process piping, gas piping, compressed air piping, and chemical piping, welding and rigging of equipment.

	
	500

	Installation and maintenance of high/low pressure boilers, and chilled water cooling systems

	
	500

	Totals
	
	OJT HRS
8K
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	Related Instruction Online
	RSI HRS

	Basic Safety
	15

	Introduction to Construction Math
	15

	Introduction to Hand Tools
	10

	Introduction to Power Tools
	5

	Introduction to Blueprints
	7

	Basic Rigging
	20

	Introduction to the Plumbing Trade
	5

	Plumbing Tools
	7

	Introduction to Plumbing Math
	7

	Introduction to Plumbing Drawings
	12

	Plastic Pipe and Fittings
	10

	Copper Pipe and Fittings
	10

	Cast Iron Pipe and Fittings
	10

	Carbon Steel Pipe and Fittings
	10

	Fixtures and Faucets
	10

	Introduction to Drain, Waste, and Vent (DWV) Systems
	10

	Introduction to Water Distribution Systems
	10

	Intermediate Math
	15

	Reading Commercial Drawings
	20

	Installing and Testing DWV Piping
	30

	Installing Roof, Floor, and Area Drains
	5

	Types of Valves
	5

	Installing and Testing Water Supply Piping
	25

	Installing Fixtures, Valves, and Faucets
	15

	Installing Water Heaters
	5

	Fuel Gas Systems
	20

	Servicing Fixtures, Valves, and Faucets
	5

	Applied Math
	17

	Codes
	7

	Types of Venting
	15

	Indirect and Special Waste
	15

	Sewage and Sump Pumps
	17

	Sizing Water Supply Piping
	20

	Backflow Preventers
	20

	Water Pressure Boosters and Recirculating Systems
	20

	Servicing Piping Systems, Fixtures, and Appliances
	20

	Business Math for Plumbers
	10

	Sizing DWV and Storm Systems
	15

	Private Water Supply Systems
	12

	Private Waste Disposal Systems
	12

	Locating Buried Water and Sewer Lines
	12

	Hydronic and Solar Heating Systems
	15

	Water Supply Treatment
	25

	Swimming Pools and Hot Tubs
	15

	Compressed Air
	10

	Corrosive-Resistant Waste Piping
	12

	Plumbing for Mobile Homes & Mobile Home Parks
	10

	Totals
	RSI HRS
620




