LINEWORKER

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-9051.00

RAPIDS CODE

WSATC-2146

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Overhead Loads, unloads, frames and sets or remove poles, Install or removes lighting arrestors, terminators, cutouts, transformers, capacitors, reclosers, sectionalizers, regulators and/or other protective devices. Transfers, installs and removes conductor guys and riser, streetlights and other equipment used in the construction, maintenance and repair of overhead distribution lines. |  | 3.2K |
| Underground Installs, maintains and repairs cable, conduit, vaults, enclosures and transformers. Performs switching, locating, testing, faultfinding, exposing, splicing and termination of URD cables. |  | 3.2K |
| Systems Switches, tags, grounds and distribution circuits and loads. Locates trouble in primary and secondary lines or cables and repairs to restore service. |  | 340 |
| Safety Demonstrates proficiency in all Company Safety and Health Procedures and Training. |  | 240 |
| Totals |  | OJT HRS 7K |

LINEWORKER

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-9051.00

RAPIDS CODE

WSATC-2146

| Related Instruction Online | RSI HRS |
| --- | --- |
| Supervised field trips | 240 |
| Grays Harbor College |  |
| Camp Rilea, Tacoma Power Hotline and Rescue Training School |  |
| Totals | RSI HRS 240 |