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	Work Process Schedule
	
	OJT HRS

	Plan reading and interpretation

Reading shop drawings

Symbols and abbreviations

Familiarization with NFPA’s #13, 14, 20 and 24

	
	750

	Care of tools, materials, and equipment

Identifying materials, grades and types of pipe, fittings, valves, hose and equipment, and sprinkler heads

Use and operation of trade tools

Maintaining and servicing of tools and equipment

	
	800

	Preparation of tools, material and equipment

Selection of pipe, fittings, hangers and devices for rough and distribution and finish work

Loading of required materials and equipment

Unloading of materials and equipment at job site using safety precautions and care in not damaging materials for equipment

Set up and use of rigging, scaffolding and mechanical lifts and platforms

	
	650

	Pipe cutting, threading, reaming, and torching

Use of hand cutters

Use of dies and reamer

Set up and operation of power threading machine

Operation of power drills

Operation of torch

	
	1.3K

	Installation of underground piping and accessories

Installation of cast iron pipe and fittings

Installation of plastic pipe and fittings

Installation of valves, post indicators and hydrants

Rodding and thrust block installation

Valve pit installation

Flushing and testing of underground piping

	
	650

	Wet pipe systems

Distribution of system

Installation of feed main and cross main, grooved, screwed and welded

Branch line installation on exposed systems

Branch line installation for concealed piping with drop nipples

Hanger types and installation

Trimming of valves including Siamese connection installation

Set up and testing of system

	
	1.6K

	Dry pipe systems

Distribution of system

Installation of feed main and cross main, grooved, screwed and welded

Branch line installation on exposed systems

Hanger types and installation

Trimming of valves including Siamese connection installation

Set up and testing of system

	
	500

	Standpipe systems

Distribution of system

Pipe installation

Installation of hose, hose VA’s, nozzles and accessories

Testing procedures

	
	500

	Special hazard installation

Installation of deluge systems

Installation of pre-action systems

Installation of clean agent systems

Installation of C02 systems

Installation of fire extinguishers

Installation of nitrogen generators

	
	350

	Installation of fire pumps and accessories

Setting of fire pumps and jockey pumps

Alignment of fire pump and driver

Trimming of fire pump, jockey pump and controllers

Start up and testing of fire pumps and equipment

	
	350

	Maintenance and Repairs

Fabrication and installation of pipe on job site

Care in cutting and patching of walls and ceilings

Repair and replacement of system components

Restoring system to service

Notifying owner, fire department, insurance company of impairment to system

	
	600

	Totals
	
	OJT HRS
8K
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	Related Instruction Online
	RSI HRS

	Sprinkler Fitting Training Series G, Level 1 - 15 Modules
	150

	Sprinkler Fitting Training Series G, Level 2 - 7 Modules
	150

	Sprinkler Fitting Training Series G, Level 3 - 5 Modules
	150

	Sprinkler Fitting Training Series G, Level 4 - 5 Modules
	150

	Totals
	RSI HRS
600




