Manufacturing Plant Electrician

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-9071

RAPIDS CODE

6016

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Installation of electrical circuits |  | 2K |
| Motors and Generators |  | 1K |
| Manual and automatic controls |  | 2K |
| Trouble Shooting |  | 1K |
| Power Distribution |  | 2K |
| Totals |  | OJT HRS 8K |

Manufacturing Plant Electrician

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-9071

RAPIDS CODE

6016

| Related Instruction Online | RSI HRS |
| --- | --- |
| Electrical mathematics | 40 |
| Safety & accident prevention | 36 |
| Care & use of hand & power tools | 20 |
| Blueprint reading & electrical symbols | 50 |
| Introduction to the National Electrical Code | 140 |
| Electrical fundamentals & basic theory, including AC & DC | 52 |
| Electrical measuring devices | 10 |
| Wiring methods | 10 |
| Low voltage and limited energy circuits | 10 |
| Industrial and commercial calculations | 44 |
| Motors, generators and transformers | 54 |
| Practical circuit sketching | 20 |
| Lighting circuits | 20 |
| Fundamentals of electronics | 30 |
| High voltage distribution and equipment | 20 |
| Totals | RSI HRS 560 |