PIPEFITTER

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.01

RAPIDS CODE

2028CB

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Materials Reading blueprints and specifications. Understanding written and verbal work orders. Recognizing and selecting appropriate types and sizes of pipe and fittings. Recognizing and selecting appropriate related materials and equipment, such as valves, supports, fasteners. |  | 250 |
| Layout Inspecting work site to determine presence of obstructions and to ascertain that holes cut for pipe will not cause structural weakness. Planning installation or repair to avoid obstructions and to avoid interfering with activities of other workers. Planning and marking layout. Minimizing waste of materials. Coordinating with other trades. |  | 750 |
| Rigging and Signaling Understanding and utilizing standard construction site signals. Safely unloading materials. Safely using ladders and scaffolding. Safely using power lifts and personnel lifts. Working safely in trenches. Shoring trenches with plywood (if in keeping with prevailing area practice.) Shoring trenches with aluminum hydraulic system (if in keeping with prevailing area practice.) |  | 200 |
| Assembly and Installation Cutting openings as required, using hand and power tools. Measuring and marking metallic and non-metallic pipe. Cutting metallic and non-metallic pipe, using hand and power tools. Threading pipe, using pipe threading machine. Bending metallic and non-metallic pipe, using hand and power tools. Joining metallic and non-metallic pipe, using hand and power tools for threading, soldering, brazing, fusing, welding or other approved processes. Hanging and supporting pipe and related materials. Installing related equipment and making piping connections. Increasing pressure in pipe system. Testing of all components of installed systems, using pneumatic or hydrostatic testing procedures. |  | 3.3K |
| Soldering and Brazing Soldering, using various alloys. Brazing, using various alloys. |  | 600 |
| Cutting and Welding Oxy-fuel cutting. Oxy-fuel welding. Shielded metal-arc welding. Tungsten inert gas arc welding (TIG). Metallic inert gas arc welding (MIG). Orbital welding. Stainless welding, if available. Aluminum welding, if available. |  | 800 |
| Automatic Controls Installing manual and automatic controls that regulate piping systems, up to the point of conversion to an electric signal. |  | 200 |
| Boilers and Furnaces Assembling and installing boilers. Assembling and installing furnaces. |  | 500 |
| Steam Systems Installing low pressure systems. Installing high pressure systems. Installing steam traps and other related equipment. |  | 500 |
| Hot Water Heating Systems Installing residential hot water heating systems. Installing commercial and industrial hot water heating systems. |  | 500 |
| Cooling Systems (Refrigeration and Air Conditioning) Assembling and installing industrial refrigeration systems. Assembling and installing residential air conditioning systems. Assembling and installing commercial air conditioning systems. |  | 500 |
| Lubricating Systems (optional)** Assembling and installing automatic lubrication systems. |  | 400 |
| Industrial Production and Processing Systems (optional)** Assembling and installing process piping systems using steam, hot water, hydraulic or pneumatic components and equipment. |  | 500 |
| Powerhouse and Electric Generating Systems (optional)** Installing piping and devices that have pipe connections to them. |  | 500 |
| Maintenance and Repair Using proper startup and shutdown procedures. Maintaining, repairing and modifying installed piping systems and components. |  | 500 |
| Totals |  | OJT HRS 10K |

PIPEFITTER

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.01

RAPIDS CODE

2028CB

| Related Instruction Online | RSI HRS |
| --- | --- |
| Safety |  |
| Industrial and Labor Relations | 20 |
| Mathematics |  |
| Drawing Interpretation and Plan Reading |  |
| Trade Theory and Science |  |
| Other Related Courses as Necessary |  |
| Totals | RSI HRS 20 |