Pipefitter

APPRENTICESHIP APPROACH

Hybrid

O*NET-SOC CODE

47-2152.00

RAPIDS CODE

0414HY

| Work Process Schedule | SKILLS |  |
| --- | --- | --- |
| Preliminary Work & Safety | 0 |  |
| Pipefitting Hand Tools Identify various pipefitting hand tools. Secure a section of pipe in a vise and pipe stand. Demonstrate the proper use of a wraparound. Demonstrate the proper use of two of the following: | 4 |  |
| Pipefitting Power Tools Cut pipe using a portable band saw (do not use a threading machine). Use an end grinder/die grinder. Operating a portable grinder, properly prep and bevel the end of a pipe. Identify several types of pipe bevelers. Replace dies in a threading machine. Cut and thread nipples using a nipple chuck. Thread pipe using a portable power drive. | 7 |  |
| Oxyfuel Cutting Set up oxyfuel cutting equipment. Light and adjust an oxyfuel torch. Shut down oxyfuel cutting equipment. Disassemble oxyfuel cutting equipment. Change empty gas cylinders. Cut shapes from various thicknesses of steel, emphasizing: Perform washing. Perform gouging. Use a track burner to cut straight lines and bevels. | 9 |  |
| Piping Systems Identify the type of piping system designated by a red color-code and its application. Identify the type of piping system designated by a yellow color-code and its application. Identify the type of piping system designated by a green color-code and its application. Identify the type of piping system designated by a bright blue color-code and its application. | 4 |  |
| Drawings and Detail Sheets Identify parts of a drawing: Interpret the following: Identify the following types of drawings: Make field sketches: | 4 |  |
| Installing Valves Install a Gate valve. Install a Ball valve. Install a Plug valve. Install a Globe valve. Install a Butterfly valve. Install a Diaphragm valve. Install a Needle valve. Install a Check valve. Install a Safety valve. | 9 |  |
| Threaded Pipe Fabrication Read and interpret screwed fitting joint drawings. Determine pipe lengths between fittings, using the center-to-center method. Determine pipe lengths between fittings, using the center-to-face method. Determine pipe lengths between fittings, using the face-to-face method. Given the length of travel of a 45-degree piping offset, calculate the length of the set. Given the length of the set and the degree of the fittings, use the table of elbow constants to figure the travel and the run. Calculate offsets, using the table of multipliers. Calculate the travel of a rolling offset. Thread pipe using manual threaders. Thread pipe using a threading machine. Apply pipe joint compound to the male threads of the pipe. Make up the pipe and fittings. Install a screwed valve. | 13 |  |
| Socket Weld Pipe Fabrication Identify various socket weld fittings. Interpret a socket weld drawing. Demonstrate how to cut out a socket weld to save the fitting, pipe, or valve. Calculate pipe lengths from line drawings using the center-to-center method. Calculate pipe lengths from line drawings using the center-to-face method. Calculate pipe lengths from line drawings using the face-to-face method. Align a 90-degree elbow to the end of a pipe. Square a pipe into a 90-degree elbow. Align a flange to the end of a pipe. Align a 45-degree elbow to the end of a pipe. Align pipes joined by a coupling. Describe how to prep and install a valve. | 12 |  |
| Butt Weld Pipe Fabrication Identify various butt weld fittings. Interpret a butt weld drawing. Clean a beveled pipe end, using a portable grinder. Demonstrate how to cut out a butt weld to save the fitting, pipe, or valve. Calculate pipe lengths from line drawings, using the center-to-center method. Calculate pipe lengths from line drawings, using the center-to-face method. Calculate pipe lengths from line drawings, using the face-to-face method. Align straight pipe. Align a pipe to a 45-degree elbow. Align a pipe to a 90-degree elbow. Align a pipe to a flange. Align a pipe to a tee. | 12 |  |
| Underground Pipe Installation Join ductile iron. Join CPVC and PVC. | 2 |  |
| Aboveground Pipe Installation Identify the following types of flanges: Identify types of gaskets. Lay out and fabricate a gasket. Install flanged piping systems. Assemble a grooved-pipe joint. Lay out floor penetrations. Read spool sheets. | 7 |  |
| Field Routing and Vessel Trim Determine spool specifications for field-routing activities. Determine the load weight for erection equipment. Install test blinds. Install temporary hydrotest spools. Identify vessel trim. | 5 |  |
| Pipe Hangers and Supports Identify types of pipe hangers. Identify types of connecting units and attachments. Identify types of pipe supports. Read and interpret pipe support drawings and symbols. Install non-expanding concrete fasteners. Install expanding concrete fasteners. Lay out and mark the cut lines required to fabricate a one-piece, 45-degree angle iron bracket. Lay out and mark the cut lines required to fabricate a one-piece, 30- by 60-degree angle iron bracket. Identify spring can support types. Read and interpret spring can support detail sheets. Install spring can supports. Remove the travel stops from a spring can support. Adjust a spring can support to the cold position. | 13 |  |
| Testing Piping Systems and Equipment Perform a pretest field inspection using a punch list. Perform service and flow tests and check for leaks. Perform a head pressure test and check for leaks. Prepare for and perform a hydrostatic test on a system or spool. | 4 |  |
| Advanced Blueprint Reading Calculate the total line length from an ISO. Sketch an ISO from a plan view. | 2 |  |
| Advanced Pipe Fabrication Calculate a three-line, 45-degree, equal-spread offset. Calculate and lay out a tank coil. Lay out and fabricate a three-piece mitered turn (degree to be determined by instructor). Lay out and fabricate a four-piece, 90-degree mitered turn. Lay out and fabricate a wye. Using reference charts, lay out and fabricate a 45-degree lateral. Lay out and fabricate a Type 1 pipe support. Lay out a 45-degree lateral by performing a geometric layout. Lay out and fabricate a saddle. | 9 |  |
| Stress Relieving and Aligning Identify three methods used to stress-relieve welds. Indicate the area of a pipe that needs to be stress-relieved. | 2 |  |
| In-Line Specialties Identify specific problems and corrective actions required for faulty steam traps. Install steam traps. | 2 |  |
| Special Piping Install flared fittings using copper tubing. Install compression fittings using copper tubing. Solder copper tubing joints. Braze copper tubing joints. Bend pipe or tubing to a specified radius. Fabricate a Lokring or a crimped copper-tubing joint. | 6 |  |
| Hot Taps Identify mechanical joint stops and fittings. Identify bolt-weld stops and fittings. Identify split tee fittings. | 3 |  |
| Maintaining Valves Demonstrate how to remove and install threaded valves. Remove and install flanged valves. Replace bonnet gaskets. Replace valve stem O-rings. Demonstrate repacking a valve. | 5 |  |
| Totals | SKILLS 134 | OJT HRS 0 |

Pipefitter

APPRENTICESHIP APPROACH

Hybrid

O*NET-SOC CODE

47-2152.00

RAPIDS CODE

0414HY

| Related Instruction Online | RSI HRS |
| --- | --- |
| Company New Hire Orientation |  |
| Company Policies and Procedures |  |
| Safety and Team Meetings |  |
| Basic Construction Skills courses or related instructions |  |
| Pipefitter Level 1 Course or related instructions |  |
| Pipefitter Level 2 Course or related instructions |  |
| Pipefitter Level 3 Course or related instructions |  |
| Pipefitter Level 4 Course or related instructions |  |
| Totals | RSI HRS 0 |