Electrical and Electronic Engineering Technicians (NOF) (0155HY V1) Hybrid

APPRENTICESHIP APPROACH

Hybrid

O*NET-SOC CODE

17-3023.00

RAPIDS CODE

0155HY

| Work Process Schedule | SKILLS | OJT HRS |
| --- | --- | --- |
| Inspect, Maintain and Replace electronic and electrical equipment. Inspection of electrical and electronic equipment or systems to ensure proper functioning and status, including: Substation inspection, transformer inspection and oil sampling, Inverter inspection, DC Block inspection, Component Offload inspection Replace defective components or parts, using hand tools and precision instruments. Activities include: solar module replacement, multi-contact connector replacement, battery module replacement or additional equipment replacement as assigned by sponsor. Key activities include: Multimeter use, Infrared Camera Use, RJ45/Terminal Connectors and Ferrule Crimping, Networking and Communications Configurations, Use of Torque Tooling, HVAC, MET Station, PCS/Inverter, DC Block Service and Maintenance. | 3 | 1.5K |
| Totals | SKILLS 3 | OJT HRS 1.5K |

Electrical and Electronic Engineering Technicians (NOF) (0155HY V1) Hybrid

APPRENTICESHIP APPROACH

Hybrid

O*NET-SOC CODE

17-3023.00

RAPIDS CODE

0155HY

| Related Instruction Online | RSI HRS |
| --- | --- |
| Totals | RSI HRS 0 |