Fire Sprinkler Technician (FST)

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.00

RAPIDS CODE

0414TB

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Plan reading and interpretation Reading shop drawings Symbols and abbreviations Familiarization with NFPA’s #13, 14, 20 and 24 |  | 750 |
| Care of tools, materials, and equipment Identifying materials, grades and types of pipe, fittings, valves, hose and equipment, and sprinkler heads Use and operation of trade tools Maintaining and servicing of tools and equipment |  | 800 |
| Preparation of tools, material and equipment Selection of pipe, fittings, hangers and devices for rough and distribution and finish work Loading of required materials and equipment Unloading of materials and equipment at job site using safety precautions and care in not damaging materials for equipment Set up and use of rigging, scaffolding and mechanical lifts and platforms |  | 650 |
| Pipe cutting, threading, reaming, and torching Use of hand cutters Use of dies and reamer Set up and operation of power threading machine Operation of power drills Operation of torch |  | 1.3K |
| Installation of underground piping and accessories Installation of cast iron pipe and fittings Installation of plastic pipe and fittings Installation of valves, post indicators and hydrants Rodding and thrust block installation Valve pit installation Flushing and testing of underground piping |  | 1.6K |
| Wet pipe systems Distribution of system Installation of feed main and cross main, grooved, screwed and welded Branch line installation on exposed systems Branch line installation for concealed piping with drop nipples Hanger types and installation Trimming of valves including Siamese connection installation Set up and testing of system |  |  |
| Dry pipe systems Distribution of system Installation of feed main and cross main, grooved, screwed and welded Branch line installation on exposed systems Hanger types and installation Trimming of valves including Siamese connection installation Set up and testing of system |  | 500 |
| Standpipe systems Distribution of system Pipe installation Installation of hose, hose VA’s, nozzles and accessories Testing procedures |  | 500 |
| Special hazard installation Installation of deluge systems Installation of pre-action systems Installation of clean agent systems Installation of C02 systems Installation of fire extinguishers Installation of nitrogen generators |  | 350 |
| Installation of fire pumps and accessories Setting of fire pumps and jockey pumps Alignment of fire pump and driver Trimming of fire pump, jockey pump and controllers Start up and testing of fire pumps and equipment |  | 350 |
| Maintenance and Repairs Fabrication and installation of pipe on job site Care in cutting and patching of walls and ceilings Repair and replacement of system components Restoring system to service Notifying owner, fire department, insurance company of impairment to system |  | 600 |
| Totals |  | OJT HRS 7.4K |

Fire Sprinkler Technician (FST)

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.00

RAPIDS CODE

0414TB

| Related Instruction Online | RSI HRS |
| --- | --- |
| Sprinkler Fitting Training Series G, Level 1 - 15 Modules | 150 |
| Sprinkler Fitting Training Series G, Level 2 - 7 Modules | 150 |
| Sprinkler Fitting Training Series G, Level 3 - 5 Modules | 150 |
| Sprinkler Fitting Training Series G, Level 4 - 5 Modules | 150 |
| Totals | RSI HRS 600 |