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	Work Process Schedule
	
	OJT HRS

	Overhead piping installations

Wet pipe system (light, ordinary and extra hazard)

Exposed piping

Concealed Piping

Hydrostatic test

Dry pipe system piping (light, ordinary and extra hazard)

Exposed piping

Concealed Piping

Air or hydrostatic test

Special piping installations

Anti-freeze systems

Standpipe and hose equipment

	
	4K

	Control devices, training, alarm installations and drains

Alarm valves or water flow devices

Water meter alarm gongs

Electric alarms, circuit openers or closer

Dry pipe valves or accelerators

Air supplies (manual or automatic)

Supervisory equipment

Water motor alarm - gongs

Electric alarm circuit openers or closer

Preaction and deluge valves

Heat responsive devices, tubing, and conduit

	
	3K

	Underground piping

Cast iron bell and spigot pipe and fitting installations

Post indicator valves

Hydrants

Valve pit connections, hydrant houses and equipment

Hydrostatic test and flushing

Special types of underground piping

Universal or mechanical joint pipe

	
	1.5K

	Water supplies

City connections

Wet connections under pressure

Dry cut-ins

Tank connections

Gravity tanks (discharge, fill, heating and overflow)

Fire pumps-manual or automatic

Suction and discharge

By-pass

Hose connections and relief

Fire Department siamese connections

	
	800

	Care and maintenance of sprinkler systems

Repair work on overhead or underground piping

Piping and valves

Devices and alarms

Flushing

Insurance inspection and reports

Owner's instruction on care and maintenance

	
	500

	Miscellaneous

Scaffolds and ladders

Construction and use

Safe operating practices

Care and use of tools

Receiving, distributing and shipping of material

	
	200

	Totals
	
	OJT HRS
10K
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	Related Instruction Online
	RSI HRS

	Inland Fire Protection, Inc. Classroom and Shop instruction
	140

	Critical Path, Inc. Training Facilities
	

	Totals
	RSI HRS
140




