SPRINKLER FITTER

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.00

RAPIDS CODE

WSATC-0066

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Overhead piping installations Wet pipe system (light, ordinary and extra hazard) Exposed piping Concealed piping Hydrostatic test Dry pipe system piping (light, ordinary and extra hazard) Exposed piping Concealed piping Air or hydrostatic test Spray, CO-2 and foam system Special piping installations Window, cornice and water curtain systems Anti-freeze systems Standpipe and hose equipment |  | 4K |
| Control devices, training, alarm installations and drains Alarm valves or water flow devices Water meter alarm gongs Electric alarms, circuit openers or closer Dry pipe valves, exhausters or accelerators Air supplies (manual or automatic) Supervisory equipment Water motor alarm -gongs Electric alarm circuit openers or closer Preaction and deluge valves Heat responsive devices, tubing, and conduit Air bulb type Metal expansion type Auxiliary device operations |  | 3K |
| Underground piping Cast iron bell and spigot pipe and fitting installations Post indicator valves Hydrants Valve pit connections, hydrant houses and equipment Hydrostatic test and flushing Special types of underground typing Universal or mechanical joint pipe Transite or other special type pipe |  | 1.5K |
| Water supplies City connections Wet connections under pressure Dry cut-ins Tank connections Gravity tanks (discharge, fill, heating and overflow) Pressure tanks (discharge, fill and air) Fire pumps-manual or automatic Suction and discharge By-pass Hose connections and relief Fire Department siamese connections |  | 800 |
| Care and maintenance of sprinkler systems Repair work on overhead or underground piping Piping and valves Devices and alarms Flushing Insurance inspection and reports Owner's instruction on care and maintenance |  | 500 |
| Miscellaneous Scaffolds and ladders Construction and use Safe operating practices Care and use of tools Receiving, distributing and shipping of material |  | 200 |
| Totals |  | OJT HRS 10K |

SPRINKLER FITTER

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.00

RAPIDS CODE

WSATC-0066

| Related Instruction Online | RSI HRS |
| --- | --- |
| Related/Supplemental Instruction | 140 |
| Totals | RSI HRS 140 |