Facility Manager

APPRENTICESHIP APPROACH

Competency

O*NET-SOC CODE

11-9141.00

RAPIDS CODE

1056CB

| Work Process Schedule | SKILLS |  |
| --- | --- | --- |
| Determine Reliability of real estate facilities | 0 | 200 |
| Assure airfield, utility and building systems are operated in accordance with (IAW) design intent and Manufacturers Recommendations | 0 | 200 |
| Oversee installation of specialized facilities (250-400,000) square feet Central steam plants Central air conditioning systems Specialized water treatment units Sewage treatment systems Petroleum Oil and Lubricants (POL) storage and dispensing systems Primary and secondary electrical distribution systems Remote sites (Firing range, Combat Communications Units, Engineering and Installation (E.I) units or other such sites) | 7 | 800 |
| Provide housekeeping and custodial services | 0 | 100 |
| Execute planned inspections to identify work requirements | 0 | 100 |
| Set up and implement recurring maintenance program | 0 | 200 |
| Manage utilization for personnel in support of tasks | 0 | 100 |
| Serve as Civil Engineering Funds Manager | 0 | 150 |
| Perform analysis to determine maintenance, repair, or other projects to be accomplished | 0 | 130 |
| Develop and be responsible for emergency contingency plans | 0 | 130 |
| Perform inspection of minor construction projects | 0 | 200 |
| Perform surveillance of construction and alteration projects | 0 | 200 |
| Provide briefings to appropriate supervisors | 0 | 100 |
| Provide supervision of personnel Work Control Technician Training Technician Power Support Systems Mechanic Operation and Maintenance (O&amp;M) | 4 | 200 |
| Operations and Maintenance Prime Beef or contractor furnished specialists Analyze functions to be accomplished Prepare pre-construction details and specifications Coordinate construction requirements Schedule O&amp;M funding activities | 5 | 630 |
| Execute airfield pavement maintenance, determines pavement condition and required work | 0 | 500 |
| Establish a 'Building Manager' program | 0 | 100 |
| Totals | SKILLS 16 | OJT HRS 0 |