Plumber

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.00

RAPIDS CODE

0432

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Installation of piping for drain, waste, and vent for Schedule 40 PVC Solid Core |  | 750 |
| Installation of piping for drain, waste, and vent for C300 Iron Piping both hub and no hub. |  | 750 |
| Operation, care, and use of all tools and equipment connected with the Trade and systems. |  | 50 |
| Code, blueprint reading, mathematical measurements and safety requirements |  | 900 |
| Installation of domestic water lines for hot |  | 750 |
| Solder work, lead joints, and brazing |  | 300 |
| Operation, care, and use of all tools and equipment connected with the Trade and systems. |  | 50 |
| Code, blueprint reading, mathematical measurements and safety requirements |  | 600 |
| Installation of piping for gas piping systems |  | 1.1K |
| Solder work, lead joints, brazing, and mega press fitting |  | 850 |
| Code, blueprint reading, mathematical measurements and safety requirements |  | 100 |
| Installation of fixtures appliances used in all plumbing systems |  | 1K |
| Maintenance and repair of fixtures and all plumbing systems |  | 500 |
| Journeyman plumbing test and preparation |  | 500 |
| Totals |  | OJT HRS 7.4K |

Plumber

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.00

RAPIDS CODE

0432

| Related Instruction Online | RSI HRS |
| --- | --- |
| Introduction to the Plumbing Profession | 140 |
| Basic Safety – 10 Hour OSHA – Produces a Certificate- OSHA 10 Card |  |
| Plumbing Safety |  |
| Introduction to Construction Math |  |
| Introduction to Plumbing Math |  |
| Introduction to Hand Tools |  |
| Introduction to Power Tools |  |
| Tools of the Plumbing Trade |  |
| Introduction to Construction Drawings |  |
| Introduction to Plumbing Drawings |  |
| Plastic Pipe and Fittings |  |
| Basic Communications |  |
| Basic Employability Skills |  |
| Material Handling |  |
| Copper Pipe and Fittings |  |
| Cast-Iron Pipe and Fittings |  |
| Steel Pipe and Fittings |  |
| Introduction to Plumbing Fixtures |  |
| Introduction to Drain, Waste, and Vent (DWV) Systems |  |
| Introduction to Water Distribution Systems |  |
| Plumbing Math II | 140 |
| Reading Commercial Drawings |  |
| Installing and Testing DWV Piping |  |
| Structural Penetrations, Insulation and Fire Stopping |  |
| Installing Roof, Floor, and Area Drains |  |
| Types of Valves |  |
| Installing and Testing Water Supply Piping |  |
| Installing Fixtures and Valves |  |
| Basic Electricity |  |
| Welding |  |
| Installing Water Heaters |  |
| Fuel Gas Systems and Code |  |
| Codes |  |
| Blueprints |  |
| Applied Math | 140 |
| Sizing Water Supply Piping |  |
| Potable Water Supply Treatment |  |
| Types of Venting |  |
| Sizing DWV and Storm Systems |  |
| Sewage Pumps and Sump Pumps |  |
| Corrosive Resistant Waste Pumping |  |
| Compressed Air |  |
| Blueprints |  |
| Business Principles for Plumbers | 140 |
| Water Pressure Booster and Recirculation Systems |  |
| Indirect and Special Waste |  |
| Hydronic and Solar Heating Systems |  |
| Servicing Piping, Systems, Fixtures, and Appliances |  |
| Fundamentals of Crew Leadership |  |
| Code Books Review |  |
| Reading Blueprints |  |
| Private Waste-Disposal Systems |  |
| Introduction to Medical Gas and Vacuum Systems |  |
| Private Water Supply Well Systems |  |
| Totals | RSI HRS 580 |