Industrial Electrician (Instrument Technician (Utilities))

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

17-3023.00

RAPIDS CODE

0252

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Shop Practices / Safety, Emergency & Regulatory Training Learn basic shop practices, safety and emergency practices, and government regulations relevant to the trade. |  | 850 |
| Set up and operate electronic test equipment Set up and operate specialized or standard test equipment to diagnose, test, or analyze the performance of electronic components, assemblies, or systems. |  | 500 |
| Review technical documents to plan work Read blueprints, schematic drawings, and as-built drawings, applying knowledge of electronic theory and components, and learn ISA and ANSI symbols used in this industry and occupation. |  | 350 |
| Install, trouble shoot, repair and calibrate instruments and transmitters Install, trouble shoot, repair and calibrate instruments that measure flow, level, pressure, digital indicators, online laboratory water quality analyzers, and chemical feed systems. |  | 950 |
| Work on process control and controllers Configuration, troubleshooting and repair of controllers and process control systems. |  | 400 |
| Troubleshoot and monitor programmable logic controllers Troubleshoot and monitor programmable logic controllers. |  | 150 |
| Troubleshoot, test, install and repair electronic components Troubleshoot, test, install and repair power supplies and PC boards. |  | 500 |
| Monitor and maintain RTU panels, control systems, or other instrument panels Monitor and maintain RTU panels, control systems, or other instrument panels. |  | 400 |
| Conduct preventive, predictive and corrective maintenance Use equipment and tools to maintain all types of instrumentation. |  | 2K |
| Data communications Install, troubleshoot and repair data communications equipment. |  | 300 |
| Totals |  | OJT HRS 6.4K |

Industrial Electrician (Instrument Technician (Utilities))

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

17-3023.00

RAPIDS CODE

0252

| Related Instruction Online | RSI HRS |
| --- | --- |
| Totals | RSI HRS 0 |