Electrician

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2111.00

RAPIDS CODE

0159

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Assemble, install, test, and maintain electrical or electronic wiring, equipment, appliances, apparatus, and fixtures, using hand tools and power tools. |  | 900 |
| Diagnose malfunctioning systems, apparatus, and components, using test equipment and hand tools, to locate the cause of a breakdown and correct the problem. |  | 900 |
| Connect wires to circuit breakers, transformers, or other components. |  | 700 |
| Inspect electrical systems, equipment, and components to identify hazards, defects, and the need for adjustment or repair, and to ensure compliance with codes. |  | 600 |
| Place conduit, pipes or tubing, inside designated partitions, walls, or other concealed areas, and pull insulated wires or cables through the conduit to complete circuits between boxes. |  | 600 |
| Prepare sketches or follow blueprints to determine the location of wiring and equipment and to ensure conformance to building and safety codes. |  | 600 |
| Plan layout and installation of electrical wiring, equipment and fixtures, based on job specifications and local codes. |  | 500 |
| Install ground leads and connect power cables to equipment, such as motors. |  | 400 |
| Repair or replace wiring, equipment, and fixtures, using hand tools and power tools. |  | 400 |
| Test electrical systems and continuity of circuits in electrical wiring, equipment, and fixtures, using testing devices such as ohmmeters, voltmeters, and oscilloscopes, to ensure compatibility and safety of system. |  | 400 |
| Use a variety of tools and equipment such as power construction equipment, measuring devices, power tools, and testing equipment including oscilloscopes, ammeters, and test lamps. |  | 400 |
| Advise management on whether continued operation of equipment could be hazardous. |  | 300 |
| Construct and fabricate parts, using hand tools and specifications. |  | 300 |
| Perform physically demanding tasks, such as digging trenches to lay conduit and moving and lifting heavy objects. |  | 300 |
| Work from ladders, scaffolds, and roofs to install, maintain or repair electrical wiring, equipment, and fixtures. |  | 300 |
| Fasten small metal or plastic boxes to walls to house electrical switches or outlets. |  | 200 |
| Perform business management duties such as maintaining records and files, preparing reports and ordering supplies and equipment. |  | 200 |
| Totals |  | OJT HRS 8K |

Electrician

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2111.00

RAPIDS CODE

0159

| Related Instruction Online | RSI HRS |
| --- | --- |
| OSHA Construction and Electrical Safety Electrical Safety and Personal Protective Equipment (PPE) | 12 |
| Introduction to Hand and Power Tools—Tool Safety | 12 |
| Fall Protection—Ladders and Stairways—Scaffolds | 3 |
| Confined Space Entry—Emergency Response—Lockout/Tagout (LOTO) | 3 |
| Excavations—Motor Vehicles—Tool Safety Review | 3 |
| Hazard Communications—Jobsite Exposures—Work Zone Safety | 3 |
| Basic Electrical Theory—Electrical Fundamentals Matter—Electron Theory—Magnetism—Electricity | 12 |
| Digital Multimeter Principles | 12 |
| Electromagnetism—Uses of Electromagnetism—The Electrical Circuit—Basic Math—Electrical Formulas | 15 |
| Series Circuits—Parallel Circuits—Series Parallel Circuits—Multiwire Circuits | 12 |
| The Electrical System—Protection Devices—Alternating Current—Capacitance—Inductance | 15 |
| The National Electrical Code® Introduction to the National Electrical Code | 18 |
| NEC Chapter 1—Definitions, Requirements for Electrical Installations | 9 |
| NEC Chapter 2—Grounded Conductors, Branch Circuits, Load Calculations, Outside Branch Circuits and Feeders, Services, Overcurrent Protection, and Overvoltage Protection | 45 |
| NEC Chapter 3—Wiring Methods, Conductors, Cabinets, Cutout Boxes, and Meter Sockets, Boxes, Conduit Bodies, Fittings, Handholes, Cables, Raceways, and Cable Trays | 18 |
| NEC Chapter 4—Flexible Cords and Cables, Fixture Wires, Lighting, Low-voltage Lighting, Motors. Air Conditioning and Refrigeration, Generators, Transformers, and Storage Batteries | 27 |
| NEC Chapter 5—Hazard/Classified Locations, Commercial Garages and Motor Fuel Dispensing, Healthcare Facilities, Assembly Occupancies, Mobile/Manufactured Homes, and Temporary Installations | 6 |
| NEC Chapter 6—Electric Signs, Manufactured Wiring Systems, Elevators, Electric Vehicle Charging Systems. Electric Welders, Audio Signal Processing, Information Technology Equipment, And Swimming Pools, Spas, Hot Tubs, Fountains, and Similar Installations | 15 |
| NEC Chapter 7—Emergency, Legally Required, and Optional Standby Systems, Remote Control Signaling and Power-Limited Circuits, Fire Alarm Systems, Optical Fiber Cables and Raceways | 9 |
| NEC Chapter 8—Communications Circuits, Radio and Television Equipment, and CATV and Radio Distribution Systems Solar Photovoltaic (PV) and Energy Storage Systems | 15 |
| Basic Motor and Motor Control | 21 |
| Electrical Estimating | 15 |
| Leadership Training | 6 |
| National Electrical Code and Electrical Fundamentals Review | 27 |
| Exam Preparation—NEC Calculations | 42 |
| OSHA Safety Review | 3 |
| Electrical Theory and Electrical Calculations Review (continued) | 6 |
| Journeyman Practice Exams—Parts 1, 2, and 3 | 18 |
| Term Review and Exams—(16 Terms) | 96 |
| Level Review and Exams—(4 Levels) | 36 |
| Lab Activities and Flexible Training (throughout program) | 60 |
| Totals | RSI HRS 590 |