SECURITY AND FIRE ALARM SYSTEMS INSTALLER

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-2098.00

RAPIDS CODE

0459

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Prepare for System Installation Review &amp; understand electronic system requirements and documentation (blueprints, etc) Perform site survey Develop overall job plan Organize technical work plan Complete pre-assemblies &amp; fabrication of sub systems Gather inventory /parts Pre-test components Inventory tools |  | 800 |
| Wire Buildings Use documentation to lay out components Secure work area; drop cloths, safety cones, etc. Rough in device component locations Install cable support structure or drill wire paths Pull &amp; secure wire Label tag wire/cable per documentation |  | 800 |
| Trim Pre-termination functions Prepare cable ends Route cable Connect passive devices Connectors Outlets Patch panels Splicing Intermediate termination |  | 1.5K |
| Install Components Remote location components Central/main location |  | 1.5K |
| Configure – Program Calibrate &amp; align electronically and physically Install or enter control programs, if applicable (complex) Set up system instructions, labels, etc (simple) |  | 500 |
| Test, Troubleshooting, Debug Power up Operate and test functions Evaluate performance Identify problems, errors, discrepancies Diagnose causes of problems Take remedial action Document actions (see documentation section) |  | 800 |
| Train Users Review user documentation manuals &amp; instructions Identify training objectives Confirm actual users and their requirements Procure or develop training &amp; user aids, manuals, etc. Demonstrate system function by guiding users through the system Observe user using the system (have customer demonstrate knowledge of the system) Communicate results of training back to all relevant parties |  | 500 |
| Documentation Review final blueprints, writing diagrams, and hookup instructions Complete work reports and time sheets Provide/prepare/deliver system documentation User manual and training materials As built drawings Zone diagrams Equipment lists Warranty paperwork |  | 800 |
| Maintenance & Repair Perform scheduled preventive maintenance Diagnose problems Read documentation |  | 800 |
| Totals |  | OJT HRS 8K |

SECURITY AND FIRE ALARM SYSTEMS INSTALLER

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-2098.00

RAPIDS CODE

0459

| Related Instruction Online | RSI HRS |
| --- | --- |
| Basic Safety | 72 |
| Introduction to Materials Handling |  |
| Introduction to Construction Math |  |
| Introduction to Hand Tools | 72 |
| Introduction to Power Tools |  |
| Introduction to Construction Drawings |  |
| Basic Rigging |  |
| Basic Communication Skills |  |
| Basic Employability Skills |  |
| Electronic Systems Technician Level 1 | 87 |
| Electronic Systems Technician Level 2 | 150 |
| Electronic Systems Technician Level 3 | 150 |
| Electronic Systems Technician Level 4 | 330 |
| Totals | RSI HRS 850 |