Electrician

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2111.00

RAPIDS CODE

0159

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Safety training and procedures |  |  |
| Rebuild and repair electrical equipment Motors, Meters, Instruments, Solenoids, Miscellaneous |  | 1.3K |
| Construction and installation Planning and job layout, Conduit and pipe, Machines and equipment, Light and power distribution |  | 1.8K |
| General building maintenance Substations (secondary circuits), Light and power circuits, Elevators, Cranes, Hoists, etc. |  | 1.2K |
| General machine and equipment maintenance Control systems, Venting, Induction heating, Machine tools, Welding equipment, Electrochemical equipment |  | 1.8K |
| Electronic equipment and controls Construction and installation, Troubleshooting and repair |  | 800 |
| Programmable controllers |  | 1K |
| Totals |  | OJT HRS 7.9K |

Electrician

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2111.00

RAPIDS CODE

0159

| Related Instruction Online | RSI HRS |
| --- | --- |
| Shop arithmetic and algebra | 20 |
| D.C. fundamentals of electroplating, batteries and mechanics | 30 |
| Wiring, magnetism, and armature winding | 32 |
| Generators and motors | 35 |
| D.C. controllers and cranes | 35 |
| Blueprint reading and drawing | 8 |
| Elementary physics | 8 |
| Shop geometry, trigonometry, and vectors | 52 |
| A.C. fundamentals and A.C. circuits | 54 |
| Transformers, polyphase systems, and Alternators | 54 |
| Single and multi-speed A.C. motors and stator winding | 52 |
| A.C. controllers and press controls | 54 |
| Instruments, relays, reactors, and lighting arrestors | 54 |
| Industrial electronics and control welding | 56 |
| National Electrical Code | 56 |
| Totals | RSI HRS 600 |