Fire Sprinkler Technician (FST)

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.00

RAPIDS CODE

0414

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Plan Read and Interpret Read shop drawings Interpret symbols and abbreviations Familiarization with NFPA’s #13, 14, 20 and 24 |  | 750 |
| Care of tools, materials, and equipment Identify materials, grades and types of pipes, fittings, valves, hoses, equipment, and sprinkler heads Use and operate trade tools Maintain and service tools and equipment |  | 800 |
| Prepare Tools, Materials and Equipment Select pipes, fittings, hangers and devices for rough and distribution and finish work Load required materials and equipment Unload materials and equipment at job sites using safety precautions and care Set up and use rigging, scaffolding and mechanical lifts and platforms |  | 650 |
| Pipe Cutting, Threading, Reaming and Torching Use hand cutters Use dies and reamer Set-up and operate power threading machine Operate power drills Operate torch |  | 1.3K |
| Install Underground Piping and Accessories Install cast iron pipe and fittings Install plastic pipe and fittings Install valves, post indicators and hydrants Rodding and thrust block installation Valve pit installation Flush and test underground piping |  | 650 |
| Wet & Dry Pipe Systems Distribute system Install feed main and cross main, grooved, screwed and welded Branch line installation on exposed systems Branch line installation for concealed piping with drop nipples Hanger types and installation Trim valves including Siamese connection installation Set up and test system |  | 2.1K |
| Standpipe Systems Install Pipes Install hoses, hose VA’s, nozzles and accessories Test procedures |  | 500 |
| Special Hazard Installation Install deluge systems Install pre-action systems Install clean agent systems Install C02 systems Install fire extinguishers Install nitrogen generators |  | 350 |
| Install Fire Pumps and Accessories Set fire pumps and jockey pumps Align fire pumps and driver Trim fire pumps, jockey pumps and controllers Start up and test fire pumps and equipment |  | 350 |
| Maintenance and Repairs Fabricate and install pipes on job site Cut and patch walls and ceilings Repair and replace system components Restore system to service Notify owner, fire department, insurance company of impairment to system |  | 600 |
| Totals |  | OJT HRS 8K |

Fire Sprinkler Technician (FST)

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.00

RAPIDS CODE

0414

| Related Instruction Online | RSI HRS |
| --- | --- |
| Level 1 - 15 Modules | 150 |
| Level 2 - 7 Modules | 150 |
| Level 3 - 5 Modules | 150 |
| Level 4 - 4 Modules | 150 |
| Totals | RSI HRS 600 |