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	Work Process Schedule
	
	OJT HRS

	CARE AND USE OF TOOLS, EQUIPMENT, AND MATERIAL FOR PLUMBING AND HEATING

Identify materials, fittings, grades and types of pipe.

Learn to use and maintain trade tools and equipment.

Learn to cut, thread, ream and flange pipe.

Learn welding and soldering.

	
	500

	PREPARATION OF TOOLS, EQUIPMENT, AND MATERIAL FOR PLUMBING AND HEATING

Select piping materials, as required

Load and unload required material and equipment

	
	500

	DRAINAGE PIPING AND FITTINGS

Understand the types of pipes used underground, within a building, above grade, and in agreement with code.

Install cast iron, steel, plastic or other approved drainage piping.

Pitch pipes for proper drainage.

Use recessed drainage fittings; determine number of hangers required by certain size waste lines.

Know the types of pipe and fittings and proper use for DWV.

Know the workings of septic tanks and systems.

Know the methods for testing pipes for leaks.

	
	100

	VENTING

Demonstrate the application and importance of venting.

Install main and branch venting, and all aspects of venting, according to code.

	
	750

	SINGLE FIXTURE INSTALLATIONS, SETTING FIXTURES

Know how to install, test, and maintain fixtures.

Know how to prepare blocking and supports.

Cut and patch walls.

	
	100

	PIPE CUTTING, REAMING, THREADING, AND FLANGING

Setting up and using a threading machine.

Using hand cutters, taps, reamers and related Power equipment.

Install, repair and replace main components.

Fabricate pipes. Operate and test for leaks.

Fabricate and install high pressure and special alloy systems.

	
	800

	INSTALL & MAINTAIN STEAM AND HOT WATER HEATING SYSTEMS

Know the various types of steam and hot water heating systems.

Know how to safely install, maintain and repair them.

	
	100

	HOT AND COLD WATER DISTRIBUTION SYSTEMS

Measure and cut pipes to specifications.

Install various piping methods and materials.

Select, fir and install valves.

Install, in accordance with accepted code and safety procedures.

	
	750

	HIGH & LOW PRESSURE BOILERS

Install boilers.

Fabricate and install piping.

Test, and place in operation.

Instruct operating personnel.

	
	700

	WATER HEATER INSTALLATION

Properly size water heaters.

Learn difference between heat sources.

Install and connect water heater.

Venting of appropriate units.

Maintain, troubleshoot and repair as required according to code.

	
	500

	WATER PUMPS

Know lift principles.

Know pressure calculations.

Know types and use of pistons, rotaries, vanes and submersibles.

Demonstrate installation, maintenance, troubleshooting and repair.

	
	500

	Totals
	
	OJT HRS
5.3K
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	Related Instruction Online
	RSI HRS

	YEAR I
	150

	Core Curriculum Introductory Craft Skills
	27

	Introduction to the Plumbing Profession
	5

	Plumbing Safety
	20

	Introduction to Plumbing Math
	7

	Plumbing Tools
	7

	Blueprints and Plumbing Drawings
	12

	Various Pipes and Fittings
	45

	Fixtures and Faucets
	5

	Intro Drain, Waste, & Vent (DWV) Systems
	10

	Intro Water Distribution Systems
	10

	YEAR II
	150

	Intermediate Math
	10

	Reading Commercial Drawings
	20

	Installing and Testing DWV Piping
	20

	Installing Roof, Floor & Area Drains
	5

	Types of Valves
	5

	Installing and Testing Water Supply Piping
	20

	Installing Fixtures, Valves, and Faucets
	15

	Introduction to Electricity
	15

	Installing Water Heaters
	5

	Fuel & Gas Piping/ Fuel Gas Systems
	30

	Servicing Fixtures, Valves and Faucets
	5

	YEAR III
	150

	Applied Math
	10

	Water Pipe Sizing
	17

	Potable Water Treatment
	15

	Back flow Preventers
	12

	Types of Venting
	10

	Sewage and Sump Pumps
	17

	NFPA 54
	20

	Sizing DWV and Storm Systems
	10

	Corrosive-Resistant Waste Piping
	7

	International Plumbing Code 2009
	30

	YEAR IV
	150

	Water Pressure Booster & Recirculation Systems
	17

	Indirect and Special Waste
	12

	Servicing Piping Systems, Fixtures & Appliances
	20

	Private Water Supply Systems
	10

	Private Waste Disposal Systems
	10

	Hydronic and Solar Heating Systems
	15

	Water Supply Treatment
	15

	Swimming Pools and Hot Tubs
	10

	Plumbing for Mobile Home Parks
	10

	International Plumbing Code 2009 Review
	30

	Totals
	RSI HRS
1.2K




