Heating & Air Conditioning Installer/Service Technician

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-9021.00

RAPIDS CODE

0637

| Work Process Schedule |  |  |
| --- | --- | --- |
| General Trade Orientation Care and use of tools Test and measurement devices Types and sizes of fittings, piping, and tubing Safety procedures Equipment records and reports Environmental safety, CFC handling |  |  |
| Fabrication of Systems Components Cut, thread, flare, bend, shape piping and tubing Install fittings Solder and braze tin fittings and components Care and use of torches Silver and soft soldering |  |  |
| System Installation and Connection Electric supply lines and cables Electrical connections Water service lines Air supply lines Steam lines Steam return lines Steam traps and strainers Pressure reduction, expansion, evaporator, stop valves Suction and discharge lines Gauges Dehydrators Filters and strainers Controls |  |  |
| Equipment Installation Install condensers Prepare compressor and motor bases Install and align compressors and motors Install evaporators and other cooling coils Install and align centrifugal pumps and bases Use of slings, lines, blocks and falls, chain hoists, rollers, dollies and skids |  |  |
| System Maintenance Troubleshoot field systems Test pressure, flow, etc. Check liquid levels Check repair leaks (Freon, liquid) Purge, dehydrate, and charge systems Repair, align, and adjust fans and blower sections Align pulleys, bearing blocks, belt tension |  |  |
| Equipment Repair Disassemble and clean, repair/renew, perform shop tests and run-in compressors Repair, pressure test, dehydrate evaporators Repair, acidize condensers, and roll condenser tubes Remove, replace, disassemble, and test, clean, calibrate, renew defective parts on controls of all types such as: pneumatic, electrical, electro pneumatic, thermostatic, humidity, pressure, vacuum |  |  |
| Machine Shop Practice Use of grinders, drill presses, lathes Tool and drill sharpening |  |  |
| Miscellaneous Orientation Housekeeping Safety Activity not otherwise listed |  |  |
| Totals |  | OJT HRS 0 |

Heating & Air Conditioning Installer/Service Technician

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-9021.00

RAPIDS CODE

0637

| Related Instruction Online | RSI HRS |
| --- | --- |
| First Year | 140 |
| Second Year | 140 |
| Third Year | 140 |
| Fourth Year | 140 |
| Totals | RSI HRS 580 |