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	Work Process Schedule
	
	OJT HRS

	PROJECT LAYOUT AND PLANNING

Prepare sketches or follow blueprints to determine the location of wiring or equipment and to ensure conformance to building and safety codes.

Provide preliminary sketches or cost estimates for materials or services.

	
	150

	UNDERGROUND INSTALLATIONS

Trenching and ditch digging

Direct Burial

Installing PVC/Rigid Conduit

Installing grounding electrode systems

	
	200

	THIN WALL CONDUIT RACEWAY SYSTEMS

Fastening and supporting devices

Conduit fabrication

Installation of conduit, fittings and boxes

	
	200

	RIGID CONDUIT RACEWAY SYSTEMS

Fastening and supporting devices

Conduit fabrication

Installation of conduit, fittings and boxes

	
	200

	INSTALLING SERVICES, AND PANELS

Mounting devices

Breaker installation

Fuse installation

Terminations and Bonding

	
	350

	INSTALLING, SPLICING & TERMINATING WIRES AND CABLES

Installing Non-metallic Sheath cable

Establishing temporary power

Feeders and branch circuits

Control wiring

Splices, taps and terminations

	
	1K

	LIGHTING SYSTEM INSTALLATION

Installing outlet boxes and conductors

Installing fixtures

Control devices

	
	400

	TESTING AND TROUBLESHOOTING SERVICES, MOTORS AND BRANCH CIRCUITS

Checking circuit continuity

Identifying fault current to ground

Certifying system operation

Repair and maintenance

Ground Verification

	
	100

	FIRE ALARM INSTALLATION

Blueprint and specification interpretation

Layout and circuit installation

Control panel and device installation

Programming and testing

	
	100

	CONTROL SYSTEM INSTALLATION

Blueprint and specification interpretation

Layout and circuit installation

Distributed control

	
	150

	SECURITY SYSTEM INSTALLATION

Blueprint and specification interpretation Layout

Box and circuit installation Terminations

Testing

	
	100

	INSTALLING COMMUNICATION AND SOUND SYSTEMS

Blueprint and specification interpretation Layout

Conduit and box installation

Installing panels and network devices

Circuit installation

Terminations and testing

	
	150

	INSTALLING AND TERMINATING TRANSFORMERS

Mounting and Installation

Primary and secondary terminations

Testing and troubleshooting

	
	100

	SERVICE AND TROUBLESHOOTING

Testing, analysis and repair of: motors, transformers, electrical devices, electronic devices, magnetic devices, lighting and power circuits, control circuits and devices.

	
	100

	MATERIAL HANDLING AND PRE-FABRICATION

Material/equipment awareness

Fabricating for field installation

	
	100

	OTHER SPECIALIZED AREAS

Other specialized areas as deemed necessary

	
	200

	Totals
	
	OJT HRS
3.6K
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