Plumber

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.02

RAPIDS CODE

0432

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Installation of piping for waste, soil, sewerage, vent, leader lines |  | 1.5K |
| Installation of piping for hot and cold water for domestic purposes |  | 1.2K |
| Assembly in position and connection of fixtures and appliances used in domestic heating, gas fittings, plumbing and drainage system |  | 2.4K |
| Welding and brazing connected with the trade |  | 400 |
| Maintenance and repairing of heating, plumbing, gas fittings, and refrigeration service |  | 800 |
| Operation, care, and use of all tools and equipment connected with the trade |  | 530 |
| Operation and maintenance of complete repair service and drain cleaning |  | 550 |
| Code, blueprint reading and sketching, and safety requirements |  | 630 |
| Totals |  | OJT HRS 8K |

Plumber

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.02

RAPIDS CODE

0432

| Related Instruction Online | RSI HRS |
| --- | --- |
| Math for Plumbers | 100 |
| Modern Plumbing Basic | 100 |
| Advanced Plumbing | 100 |
| Plumbing Design & Installation | 100 |
| Modern Hydronic Heating | 100 |
| Planning Waste/Vent Systems | 45 |
| Piping Systems | 20 |
| UPC-MT-Plumbing Code (Study Guide) | 130 |
| Plumbing Exam | 60 |
| Totals | RSI HRS 760 |