STEAMFITTER

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.01

RAPIDS CODE

ATP13-215

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Rigging and Material Handling Rigging and signaling. Unloading materials in safe manner. |  | 200 |
| Tools, Machines and Equipment Safe use and care of: Hand tools Safe use and care of: Power tools Safe use and care of: Cutting and burning equipment Safe use and care of: Machines Safe use and care of: Ladders, scaffolds, slings |  | 400 |
| Planning and Layout Reviewing blueprints, plans, specifications, supervisor’s directions. Selecting type and size pipe, related materials and equipment. Inspecting worksite to determine presence of obstructions and to ascertain that holes cut for pipe will not cause structural weakness. Laying out job; minimizing waste. Using computer for layout, if available. Measuring and marking structure and materials. |  | 700 |
| Pipe Cutting, Threading, Bending Cutting pipe using the following methods: Saws. Cutting pipe using the following methods: Pipe cutter. Cutting pipe using the following methods: Hammer and chisel. Cutting pipe using the following methods: Cutting torch. Cutting pipe using the following methods: Pipe cutting machine. Using pipe threading machine. Using pipe bending tools and pipe bending machine. |  | 800 |
| Pipe Joining Connecting pipe and fittings by the following methods: Threading. Connecting pipe and fittings by the following methods: Soldering. Connecting pipe and fittings by the following methods: Brazing. Connecting pipe and fittings by the following methods: Fusing. Connecting pipe and fittings by the following methods: Cementing and adhesives. |  | 800 |
| General Installation and Repair Cutting holes in structure prior to pipe installation. Assembling pipes, tubes and fittings. Securing pipes to structure with hangers, supports and fasteners. Installing valves. Installing hydraulic and pneumatic components such as pumps and cylinders. Connecting equipment, such as radiators or tanks. Increasing pressure in pipe system and testing for leaks. Maintaining and repairing systems; turning valve to shut off gases or liquids in piping prior to beginning work. |  | 2K |
| Controls Installing electrical controls. Installing hydraulic controls. Installing pneumatic controls. Maintaining and repairing controls. |  | 500 |
| Boiler Installation and Repair Low pressure. High pressure. Installing heating plant. Insulating. Maintaining and repairing. |  | 1K |
| Gas Installations and Repair Natural gas installations. L.P. gas systems. Sizing and venting gas systems. Gas appliances and controls. Medical gas systems. Maintaining and repairing. |  | 1K |
| Oil Installations and Repair Connecting fuel oil tank, pump, and equipment in place. Connecting oil pipeline, fittings, and valves in place. Maintaining and repairing. |  | 1K |
| Refrigeration and Air-Conditioning Systems Installing refrigeration and air-conditioning systems including: Compressor. Installing refrigeration and air-conditioning systems including: Pumps. Installing refrigeration and air-conditioning systems including: Meters. Installing refrigeration and air-conditioning systems including: Pneumatic and hydraulic controls. Installing refrigeration and air-conditioning systems including: Piping. Maintaining refrigeration and air-conditioning systems. |  | 1K |
| Cutting and Burning Using cutting torch. Welding for the trade. |  | 600 |
| Totals |  | OJT HRS 10K |

STEAMFITTER

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.01

RAPIDS CODE

ATP13-215

| Related Instruction Online | RSI HRS |
| --- | --- |
| Safety and Health |  |
| Mathematics |  |
| Blueprint Reading and Sketching |  |
| Industrial and Labor Relations |  |
| Trade Theory |  |
| Trade Science |  |
| Totals | RSI HRS 0 |