Magnetic Resonance Imaging (MRI) Technician

APPRENTICESHIP APPROACH

Hybrid

O*NET-SOC CODE

29-2034.00

RAPIDS CODE

1115HY

| Work Process Schedule | SKILLS | OJT HRS |
| --- | --- | --- |
| General Patient Care Procedures CPR Vital Signs (Blood Pressure, Pulse, Respiration) Sterile Technique Standard Precautions Transfer of Patients Care of Patient Medical Equipment (e.g., Oxygen Tank, IV Tubing) Venipuncture | 7 | 500 |
| MRI Safety Requirements Screening Patients, Personnel, and Non-Personnel for MR Safe, MR Conditional, and MR Unsafe Devices and Objects Identify MR Safety Zones Static Magnetic Field (e.g., Translational and Rotational Forces) Radiofrequency Field (e.g., Thermal Heating [SAR], Coil Positioning, Patient Positioning, Insulation) Gradient Magnetic Fields (e.g., Inducted Voltages, Auditory Considerations) Communication and Monitoring Considerations (e.g., Sedated Patients, Verbal and Visual Contact, Vital Signs) Contrast Media Safety (e.g., NSF, Renal Function) Other MRI Safety Considerations (e.g., Cryogen Safety, Fire, Medical Emergencies, Laser Alignment Lights) | 8 | 500 |
| MR Imaging Procedures Evaluation of requisition and/or medical record Identification of patient Documentation of patient history including allergies Safety screening Patient education concerning the procedure. Patient care and assessment Preparation of examination room Standard Precautions Preparation and/or administration of contrast media MRI Safety procedures and precautions Patient discharge with post-procedure instructions Selection of optimal imaging coil Patient Positioning Protocol Selection Parameter Selection Image display, networking, and archiving Post-processing Documentation of procedure and patient data in appropriate records Completion of acquisition Analysis of the image for technical quality Demonstration of correct anatomic regions Proper identification on images and patient data Recognition of relevant pathology Exam completeness | 24 | 500 |
| MRI Quality Control Procedures Signal to Noise Ratio Center Frequency Transmitter Gain or Attenuation Geometric Accuracy Equipment Inspection (e.g., Coils, Cables, Door, Seals) Monitor Cryogen Levels Room Temperature and Humidity | 7 | 500 |
| Bronson Specific Requirements BMS – Department Goals EPIC Processes (Begin/End Exam, Charge Contrast, Look Up Patient History, Screen for Implants, Schedule Inpatient/ER Exams) McKesson/PACS (Reviewing Exams) MRidium Infusion Pumps MRExperion Power Injectors Protocolling Exams Wanding Patients Ordering XR for MR Screening | 8 | 500 |
| Totals | SKILLS 54 | OJT HRS 2.5K |

Magnetic Resonance Imaging (MRI) Technician

APPRENTICESHIP APPROACH

Hybrid

O*NET-SOC CODE

29-2034.00

RAPIDS CODE

1115HY

| Related Instruction Online | RSI HRS |
| --- | --- |
| Computer Applications in Medical Imaging | 45 |
| MRI Physics 1 | 45 |
| MRI Physics 2 | 45 |
| MRI Procedures and Pathology 1 | 45 |
| MRI Procedures and Pathology 2 | 45 |
| MRI Imaging Analysis | 45 |
| Applied Sectional Anatomy | 45 |
| Pre-Clinical Preparation | 45 |
| Totals | RSI HRS 360 |