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	Work Process Schedule
	SKILLS
	OJT HRS

	General Patient Care Procedures

CPR

Vital Signs (Blood Pressure, Pulse, Respiration)

Sterile Technique

Standard Precautions

Transfer of Patients

Care of Patient Medical Equipment (e.g., Oxygen Tank, IV Tubing)

Venipuncture

	7

	500

	MRI Safety Requirements

Screening Patients, Personnel, and Non-Personnel for MR Safe, MR Conditional, and MR Unsafe Devices and Objects

Identify MR Safety Zones

Static Magnetic Field (e.g., Translational and Rotational Forces)

Radiofrequency Field (e.g., Thermal Heating [SAR], Coil Positioning, Patient Positioning, Insulation)

Gradient Magnetic Fields (e.g., Inducted Voltages, Auditory Considerations)

Communication and Monitoring Considerations (e.g., Sedated Patients, Verbal and Visual Contact, Vital Signs)

Contrast Media Safety (e.g., NSF, Renal Function)

Other MRI Safety Considerations (e.g., Cryogen Safety, Fire, Medical Emergencies, Laser Alignment Lights)

	8

	500

	MR Imaging Procedures

Evaluation of requisition and/or medical record

Identification of patient

Documentation of patient history including allergies

Safety screening

Patient education concerning the procedure.

Patient care and assessment

Preparation of examination room

Standard Precautions

Preparation and/or administration of contrast media

MRI Safety procedures and precautions

Patient discharge with post-procedure instructions

Selection of optimal imaging coil

Patient Positioning

Protocol Selection

Parameter Selection

Image display, networking, and archiving

Post-processing

Documentation of procedure and patient data in appropriate records

Completion of acquisition

Analysis of the image for technical quality

Demonstration of correct anatomic regions

Proper identification on images and patient data

Recognition of relevant pathology

Exam completeness

	24

	500

	MRI Quality Control Procedures

Signal to Noise Ratio

Center Frequency

Transmitter Gain or Attenuation

Geometric Accuracy

Equipment Inspection (e.g., Coils, Cables, Door, Seals)

Monitor Cryogen Levels

Room Temperature and Humidity

	7

	500

	Bronson Specific Requirements

BMS – Department Goals

EPIC Processes (Begin/End Exam, Charge Contrast, Look Up Patient History, Screen for Implants, Schedule Inpatient/ER Exams)

McKesson/PACS (Reviewing Exams)

MRidium Infusion Pumps

MRExperion Power Injectors

Protocolling Exams

Wanding Patients

Ordering XR for MR Screening

	8

	500

	Totals
	SKILLS
54
	OJT HRS
2.5K
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	Related Instruction Online
	RSI HRS

	Computer Applications in Medical Imaging
	45

	MRI Physics 1
	45

	MRI Physics 2
	45

	MRI Procedures and Pathology 1
	45

	MRI Procedures and Pathology 2
	45

	MRI Imaging Analysis
	45

	Applied Sectional Anatomy
	45

	Pre-Clinical Preparation
	45

	Totals
	RSI HRS
360




